

**BID #25-20-06**

 **TITLE: OT Test Lab Prefabricated Building**

 **QUESTIONS: Levi Lanphear, Procurement Administrator**

**cp@bentonpud.org**

|  |  |
| --- | --- |
| **BID Issued** | **September 25, 2025** |
| **Questions Submitted** | **October 3, 2025, at 5:00PM** |
| **BID Due** | **October 9, 2025, at 3:00 PM** |
| **Award Date** | **October 28, 2025** |

Contents

[CALL FOR BID 3](#_Toc115778846)

[GENERAL INSTRUCTIONS TO BIDDER 4](#_Toc115778847)

[SPECIAL INSTRUCTIONS TO BIDDER 11](#_Toc115778848)

[BID SCHEDULE 12](#_Toc115778849)

[EXHIBIT A – SAMPLE CONTRACT 14](#_Toc115778850)

[EXHIBIT B - SAMPLE PERFORMANCE BOND 17](#_Toc115778851)

**Attachment 1 - Panel Schedules**

**Attachment 2 - Map of Building Placement Onsite**

## **CALL FOR BID**

**OT Test Lab Prefabricated Building**

NOTICE IS HEREBY GIVEN BY Benton PUD, Kennewick, Washington that sealed bids will be received until **3:00p.m. PST, Thursday October 9, 2025,** at which time, they will be opened and publicly read to provide OT Test Lab Prefabricated Building.

Bid Packages are available on-line [www.bentonpud.org](http://www.bentonpud.org), at the District’s office, 2721 W. 10th Ave., Kennewick, Washington or can be requested at cp@bentonpud.org. All questions regarding this bid shall be directed to the Procurement Department at cp@bentonpud.org.

Bidders **MUST** submit bids in a **SEALED ENVELOPE** addressed to: Benton PUD, Procurement Department, PO Box 6270, 2721 W. 10th Avenue, Kennewick, Washington 99336 **AND MARKED:** Bid #25-20-06, OT Test Lab Prefabricated Building, Bid Opening 3:00PM PST, Thursday October 9, 2025.

Each bid shall be accompanied by a Bid Bond, certified or cashier's check payable to the order of the Benton PUD for a sum not less than 5% of the amount of the bid, with a corporate Surety licensed to do business in the State of Washington

The successful bidder will be required to furnish a Surety or Performance Bond for 100% of the contract price.

By order of the Commission of Benton County Public Utility District No. 1.

# GENERAL INSTRUCTIONS TO BIDDER

1. SEALED bids must be received at the District's Procurement Department, 2721 W. 10th Avenue, Kennewick, Washington by the time and date specified in the Call for Bid. The District assumes no responsibility for bids not received in the Procurement Department at bid time.

Mail to: P.O. Box 6270 Deliver to: 2721 W. 10th Avenue

 Kennewick, WA 99336 Kennewick, WA 99336

1. All bids shall conform to the technical specifications and contract terms specified within the bid package. A sample contract has been provided in the bid package containing the contract terms. When submitting the bid, the contractor must clearly specify any modifications to the specifications or contract terms, including all exceptions, deletions, additions, or other changes on the Bid Summary Sheet. Material modifications as deemed by the District may be considered as non-responsive and the bid rejected.
2. Each bid shall be accompanied by a certified or cashier's check payable to the order of the District for a sum not less than 5% of the amount of the bid, or accompanied by a Bid Bond in an amount not less than 5% of the bid, with a corporate Surety licensed to do business in the State of Washington, conditioned that the successful bidder will pay the District as liquidated damages the amount specified in the bond unless he enters into a contract in accordance with his bid within ten (10) days from the date on which he is notified that he is the successful bidder.
3. The successful bidder will be required to furnish a performance bond in the form attached hereto with a surety authorized to do business in the State of Washington, in a penal sum not less than 100% of the contract.
4. In the event the successful bidder fails to furnish an approved Performance Bond and to sign the contract within ten (10) days after notification by the District, an amount equal to five percent (5%) of the amount of the bid shall be forfeited to the District as liquidated damages. Said liquidated damages shall be paid from the Bid Bond.
5. All items must be accepted by the District prior to payment. Acceptance criteria and time periods are specified within the bid technical specifications.
6. Bids shall cover delivery FOB destination and acceptance by the District. Acceptance shall be after delivery to the destination within Benton County, Washington. Acceptance notification by the District to the contractor shall be in writing. Testing, if applicable, will be performed prior to acceptance.
7. Warranty may be a consideration in contract award. Bidder shall state all conditions of warranty on the Bid Summary Sheet.
8. Bids shall reflect the exemption of the Federal Excise Tax. The contract is subject to Washington State Sales Tax, but the bid price shall NOT include this amount.
9. Special consideration will be given to firm bids.
10. The experience and proven performance of the bidder will be considered in awarding the contract. Consideration will also be given to adequacy of the maintenance and service facilities provided by the Bidder.
11. Any changes, additions or deletions to the specifications shall be made by **written addendum only** and included with Bid Submitted.
12. The District reserves the right to let any item or items separately to the lowest and best qualified bidder.
13. The District reserves the right to waive minor irregularities or minor errors in any proposal; if it appears to the District that such irregularities or errors were made through inadvertence. Any such irregularities or errors so waived must be corrected on the proposal in which they occur prior to the acceptance thereof by the District.
14. The District reserves the right to reject any or all bids and to waive any informalities in the bidding.
15. The venue and jurisdiction of any action or claim for or against the Bidder or the District shall be in Benton County, Washington and in the District or Superior Courts thereof according to the jurisdictional amount.
16. Delivery shall be a consideration in awarding this bid.

**Scope of Work**

**1. Project Overview**

This Scope of Work (SOW) defines the requirements for supplying a 10’x20’ walk-in building. The unit will be delivered as a fully assembled, weather-resistant, environmentally controlled structure suitable for housing utility and/or telecommunications equipment. Site preparation, and connection to utilities are excluded from this scope.

All dimensions, specifications, drawings, bulletins, catalogs, and transmittals submitted to the District shall be in the English language and the English foot-pound-second system of units. Use of metric units and/or other languages is not acceptable.

All equipment furnished, and tests performed, shall comply with all applicable regulations, safety codes, specifications, and standards, including applicable technical definitions as acknowledged and accepted in the industry as of the date of the purchase order. The foregoing shall include, but not be limited to, applicable specifications, standards, and requirements issued by the following entities:

* IEEE – Institute of Electrical Electronics Engineers
* ANSI – American National Standards Institute
* NEMA – National Electrical Manufacturers Association
* ASM – American Society for Testing and Materials
* NEC – National Electrical Code

NOTE: Cabinet is a non-habitable, Utility controlled, integral piece of equipment exempt from inspection by the Washington State Department of Labor & Industries.

**2. Scope**

The supplier shall furnish the following equipment:

* Building Structure
	+ Factory-built 10’ x 20’ walk-in building.
	+ Corrosion-resistant, insulated, and weatherproof construction.
		- Insulation shall consist of R-19 or greater for exterior walls, R-30 or greater for ceiling panels, and R-25 or greater for floor panels.
* One ADA-compliant access door - 40” x 80”- 84” opening with:
	+ Door Window (safety glass).
	+ Door shall be provided with weather stripping and weatherproof shield above door opening to divert precipitation.
	+ Electronic door strikes, factory-installed and pre-wired, ready for integration with customer-provided access control system.
	+ General Door Hardware shall include the following:
	+ Exit Device - COR ED5200 630 W036 M54 Reim Exit (Panic Bar)
	+ Night Latch – COR TH957 630 Exit Trim LC
	+ Rim Housing – KSP 308 26D I/C
	+ Norton #7500 Closing Device
	+ Lock(s) shall be Best brand rim cylinders with 6-pin core (core keys shall be provided)
* Environmental Systems
	+ HVAC unit to be provided and installed by the District.
* Electrical/Lighting
	+ All conductors shall be copper THWN.
	+ Interior dimmable LED lighting.
	+ Exterior LED area lighting with photocell control.
	+ LED Exit sign, with “bug eyes” shall be installed over door. Exit sign shall be connected to same circuit as interior lighting.
	+ AC Panel and interior/exterior outlets. Panel shall at a minimum be 3-phase, 208Y/120V, 22kA rated,100A, main lug only, 30 circuit. Panel shall at the minimum contain the circuit breakers indicated in the attached panel schedule.
		- Panel shall be mounted with main lugs on the bottom to facilitate branch circuit conductor routing.
		- A 100A, 250V rated, unfused, 3-phase disconnect shall be provided on the exterior of the structure for de-energizing the AC panel and wired to the AC panel. Disconnect shall be capable of having a Myers style hub installed in the top sized to fit a 2” rigid metal conduit for incoming service mast. Manufacturer shall provide Unistrut mounts on exterior of the structure up the wall above the disconnect to facilitate the installation of a District provided service mast. Unistrut shall be sized to accommodate an adjacent mast for communications connection.
	+ DC Panel. Panel shall be 48VDC rated, 10kA rated, 60A minimum, 30 circuit minimum. Either 60A main circuit breaker or 60A back fed main configurations are acceptable. Panel shall at the minimum contain the circuit breakers indicated in the attached panel schedule.
	+ Weatherproof grounding provisions.
	+ Optional port for AC Generator Cable Entry
	+ GPS antenna entry point
* Interior Equipment
	+ (5) 19” 2-post equipment racks (floor-mounted).
	+ fold-down 24” x 48” worktable, wall-mounted.
	+ 12” x 4” Ladder style cable tray over racks with 9” rung spacing. Cable tray shall incorporate “waterfall” transitions at each rack location to facilitate cable routing. Cable tray sections shall be bonded together and to service ground with minimum #6 CU jumper.
	+ 8” x 8” Wireway ring shall extend around the perimeter of the room. The raceway shall be mounted near the top of the wall.
		- There shall be a minimum of (3) 2” conduits routed from the top of the AC and DC panels up into the wireway.
	+ Cable management pre-installed from cable tray down to racks
* Fire Protection / Safety
	+ Factory-installed smoke detection and alarm system. System shall include dry contacts to facilitate external monitoring.
	+ Fire-resistant construction per manufacturer standards.
* Documentation
	+ Drawings:
		- The Manufacturer shall furnish drawings and diagrams of the structure. Each drawing supplied by the successful Bidder shall bear identification showing the District’s purchase order number, the date of the drawing release, and where the drawing is For Approval, Approved for Construction, or as built.
		- Manufacturer’s as-built drawings in AutoCAD 2024 format. As-built drawings shall be submitted to the District no later than 5 working days prior to the arrival of the structure on site.
		- Access to the District’s file sharing site can be arranged at Manufacturer’s request.
	+ Approval Drawings:
		- The successful Bidder’s schedule shall include the time for transmittal of drawing for approval in addition to at least 10 working days for their consideration by the District.
		- The Bidder shall submit an electronic PDF copy of each drawing for Approval/Comment by the District. Revision(s) of drawings to make them comply with the specifications shall be at the successful Bidder’s expense and without extension of the shipping date.
		- Approval of the drawings by the District shall not relieve the Bidder of any part of their obligation to meet all requirements of these specifications or of the responsibility for the correctness of such drawings, diagrams, and schematics.
		- Fabrication of any material prior to receiving the District’s approval of the drawings shall be at the successful Bidder’s sole risk and expense.
		- Approval of the drawings by the District shall in no way change/replace/modify/etc. any of the Contract terms and conditions. Such terms and conditions shall only be modified via single issue specific written request complying with the District’s Procurement Department process/procedures.
	+ Two complete O&M manuals for building, HVAC, electrical, and accessories. Manuals shall contain the following at a minimum:
		- Complete set of as-built drawings for the structure.
		- Detailed installation instructions.
		- Description of all component parts and accessories including cutsheets where applicable.
		- Complete instructions covering operation and maintenance of equipment.
		- Suggested spare parts list.
	+ Manufacturer’s warranty documentation.

**3. Exclusions**

The following items are not included in this scope and will be provided by the District:

* Site preparation, foundation, and concrete pad installation.
* Electrical service connection, grounding installation, or utility tie-ins.
* Customer-owned equipment installation inside the building.
* Permitting, inspections, or associated fees.

**4. Shipping & Delivery**

* The building shall be shipped in on piece F.O.B. to the District’s Operations Facility, located at 1500 S. Ely St. in Kennewick, WA. Unless otherwise specified in the bid, the Bidder will be responsible for providing the crane for unloading the building. The successful bidder shall be responsible for supervising the unloading and the placement of the building. The District shall be responsible for attachment of any equipment removed for shipping.
	+ The Manufacturer shall have their designated crane operator schedule a site walkthrough with the District a minimum of two weeks prior to delivery to determine safety clearances, crane and trailer placement and any temporary accommodations or modifications that may need to be provided to facilitate placement of building.
	+ The Manufacturer shall coordinate all necessary transportation permits with their selected transport service such that agreed upon delivery date accommodates any require transportation permit processing times. The Manufacturer shall be responsible for any costs incurred by the District associated with rescheduling delivery for delays other than weather.
* The District’s hours of operation are 6:30 a.m. to 5:00 p.m., PST Monday through Thursday with Fridays off. Therefore, the building must be off-loaded on Monday through Thursday between the hours of 8:00 a.m. and 2:00 pm. PST. If off-loading occurs outside of these hours, then the Manufacturer shall be responsible for any overtime costs the District incurs.
* Equipment with visible damage upon delivery shall be refused and it will be the Manufacturer’s responsibility to arrange for prompt repair or replacement to the standards of new equipment.

**5. Warranty**

* Manufacturer shall warranty all parts of the equipment against defects in design, material and workmanship for a period of (18) months from the date of shipment or (12) months in service, whichever occurs first.

**6. Schedule**

* Delivery schedule to be coordinated with customer at time of order.

**7. Payment**

* Payment terms are Net 30 upon approval by the District and invoiced by vendor.

## **SPECIAL INSTRUCTIONS TO BIDDER**

None

# BID SCHEDULE

|  |
| --- |
| **Vendor Name:** |
| **ITEM** | **QTY** | **DESCRIPTION** | **EACH PRICE** | **TOTAL PRICE** | **DELIVERY****(DAYS OR WEEKS ARO)** |
| 1 | 1 | OT Test Lab Prefabricated Building |  |  |  |

**THE DISTRICT WILL NOT ACCEPT ANY CHANGES OR MODIFICATIONS TO BID AFTER THE RECEIPT OF THIS BID**

**Note:**

1. **Firm Price through Bid Lead-Time and shipment, no metals adjustments**
2. **Delivery shall be a consideration in awarding bid.**
3. **Anticipated Approval of Contract & Award Date will be October 28, 2025.**

|  |  |  |  |
| --- | --- | --- | --- |
| **Prices are Firm through Delivery Date** | **YES** | **NO** | **(If Bidder is proposing Pricing other than firm it is a requirement to provide process in which the price is calculated and against what index)** |
| **Any Exceptions To The Specifications** | **YES** | **NO** |  |
| **Any Exceptions To Exhibit A** | **YES** | **NO** |  |
| **Acknowledge Receipt of Addend. Nos.** |  |  |  |
| **State Warranty** |  |
| **Manufacturer** |  |
| **Supplier Name** |  |
| **Address** |  |
| **Supplier Email** |  |
| **Supplier Phone #** |  |

**The District is a public entity subject to the disclosure requirements of the Washington Public Records Act of RCW 42.56.  The bidder expressly acknowledges and agrees that its proposal and any information bidder submits with its proposal or which bidder submits to the District in its performance of any contract with the District is subject to public disclosure pursuant to the Public Records Act or other applicable law and the District may disclose bidder’s proposal and/or accompanying information at its sole discretion in accordance with its obligations under applicable law.**

**The District must comply with the Preservation and Destruction of Public Records RCW 40.14.  The bidder expressly acknowledges and agrees that it will maintain all records and documentation related to the contract in accordance with its obligations under applicable law.**

**In the event that the District receives a request pursuant to the Washington Public Records Act, or other legal process requesting or mandating disclosure of any information or documents submitted to the District by bidder, the District’s sole obligation shall be to notify the bidder promptly, so that the bidder at bidder’s expense and cost, may seek court protection of any of the requested information bidder deems confidential.**

**Person authorized to bind supplier to the Terms and Conditions of this Bid:**

BY: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

PRINT: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

TITLE: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_

DATE: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

# EXHIBIT A – SAMPLE CONTRACT

This agreement is made and entered into on the \_\_\_\_\_ day of \_\_\_\_\_\_\_\_\_\_\_, **2024**, by and between:

**PUBLIC UTILITY DISTRICT NO. 1 OF BENTON COUNTY**, hereinafter referred to as "the District",

 AND

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, hereinafter referred to as "the Vendor"

WITNESSETH:

That the Vendor, for the consideration hereinafter fully set out, and the District, for the consideration of material furnished, agrees that:

1. SCOPE OF WORK: Furnish\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Cable per specifications in Bid Pkg. #XX-XX-XX, P.O. #\_\_\_\_\_.
2. DELIVERY & ACCEPTANCE:

The Vendor shall deliver the \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Cable F.O.B. destination to Benton PUD by \_\_\_\_\_\_\_\_\_\_\_\_\_; failure to do so may result in damage to the District.

Testing and Acceptance of conforming items by Benton PUD shall occur within the number of days after delivery as specified in the bid specification (if applicable). Items that fail to meet acceptance criteria as specified in the bid specifications shall be rejected. Acceptance or rejection by the District to the Vendor shall be in writing.

1. TEMPORARY PRICING AND DELIVERY REVISIONS

Under certain extreme market conditions, the District may consider temporary revisions to the awarded Quoted Unit Price(s) and/or delivery requirements, provided the Vendor provides the following:

* + 1. 14 calendar days’ written notice to Benton PUD Contract & Purchasing Department cp@bentonpud.org of any proposed revisions to the affected Unit Price(s).
		2. The specific reasoning and justification for any such revisions.
		3. Upon request by the District, any market-based evidence, related pricing indexes or other resources to support the District in validating the proposed revisions.  Such requests may be made by the District periodically so that the District can determine that the revisions are continually justified.

Price increases solely to increase profit or margin shall not be considered. Any Temporary revisions to pricing and/or delivery requirements that the District may choose to agree to shall be authorized by a Change Order. In the event a temporary revision to the awarded Quoted Unit Price(s) is authorized by Change Order, such revised pricing shall not be eligible for any further increase for a period of not less than six months from the date Change Order is fully executed.

1. PAYMENT:

Payment will be made within thirty days of Acceptance by the District or receipt of a valid invoice from the Vendor, whichever occurs later.

The District agrees to pay the Vendor for the material/equipment the sum of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Dollars ($.00), plus applicable Washington State Sales Tax.

1. GUARANTEE:

The Vendor guarantees the \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ against all defects in workmanship, materials, and in design as stated on the warrantyprovided by \_\_\_\_\_\_\_\_\_\_\_\_\_\_.

1. PERFORMANCE BOND:

The Vendor shall furnish, in favor of the District, a Performance Bond as required by the Contract Documents, and this Contract shall not obligate the District until such Performance Bond has been tendered.

**The District is a public entity subject to the disclosure requirements of the Washington Public Records Act of RCW 42.56.  The vendor expressly acknowledges and agrees that its proposal and any information vendor submits with its agreement or which vendor submits to the District in its performance of any contract with the District is subject to public disclosure pursuant to the Public Records Act or other applicable law and the District may disclose vendor’s proposal and/or accompanying information at its sole discretion in accordance with its obligations under applicable law.**

**The District must comply with the Preservation and Destruction of Public Records RCW 40.14.  The vendor expressly acknowledges and agrees that it will maintain all records and documentation related to the contract in accordance with its obligations under applicable law.**

**In the event that the District receives a request pursuant to the Washington Public Records Act, or other legal process requesting or mandating disclosure of any information or documents submitted to the District by vendor, the District’s sole obligation shall be to notify the vendor promptly, so that the vendor at vendor’s expense and cost, may seek court protection of any of the requested information vendor deems confidential.**

**PUBLIC UTILITY DISTRICT NO. 1 NAME**

**OF BENTON COUNTY**

BY:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ BY:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

PRINT:\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ PRINT:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

TITLE:\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ TITLE:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

DATE:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ DATE:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 UBI NO.

# EXHIBIT B - SAMPLE PERFORMANCE BOND

KNOW ALL MEN BY THESE PRESENTS: That whereas, **Public Utility District No. 1 of Benton**

**County**, Washington, a municipal corporation, hereinafter designated as the “District", has

entered into an agreement dated \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, 2024, with \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_,

hereinafter designated as the "Vendor", providing for , which agreement is

on file at the District's office and by this reference is made a part hereof.

NOW, THEREFORE, We, the undersigned Vendor, as principal, and, a corporation organized and

existing under and by virtue of the laws of the State of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ and duly

authorized to do a surety business in the State of Washington, as surety, are held and firmly

bound into the State of Washington and the District in the sum of

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Dollars ($0.00)**

for the payment of which we do jointly and severally bind ourselves, our heirs, executors, administrators, successors, and assigns by these presents.

THE CONDITIONS OF THIS OBLIGATION are such that if the said principal, his heirs, representatives or successors, shall well and truly keep and observe all of the covenants, conditions, and agreements in said contract and shall faithfully perform all of the provisions of the contract, pay all taxes of the Vendor arising therefrom, and pay all laborers, mechanics, subcontractors, and material men and all persons who shall supply such person or subcontractors with provisions and supplies for carrying on such work, and shall indemnify and save harmless the District, their officers, and agents, from any and all claims, actions or damage of every kind and description including attorneys' fees and legal expense and from any pecuniary loss resulting from the breach of any of said terms, covenants, or conditions to be performed by the Vendor:

AND FURTHER, that the Vendor will correct or replace any defective work or materials discovered by the said District within a period of one year from the date of acceptance of such work or material by said District, then this obligation shall become null and void; otherwise, it shall be and remain in full force and effect.

No change, extension of time, alteration or addition to the work to be performed under the agreement shall in any way affect Vendor's or surety's obligation on this bond, and surety does hereby waive notice of any change, extension of time, alterations or additions thereunder.

This bond is furnished in pursuance of the requirements of Sections 54.04.080 et seq. of Revised Code of Washington, and, in addition to other Vendor and surety to the District for the use and benefit of said District together with all laborers, mechanics, subcontractors, material men, and all persons who supply such person or subcontractors with provisions and supplies for the carrying on of the work covered by the agreement to the extent required by said Revised Code of Washington.

IN WITNESS WHEREOF, the said Vendor and the said surety have caused this bond to be signed and sealed by their duly authorized officers this \_\_\_\_ day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, 2022.

Surety

Title

Vendor

Title